OCEAN HOUSE UNIT RENOVATION/CONSTRUCTION ( as of January 1, 2026)

Requirements

Use of bat insulation only

Windows and doors must match other units

Removal of any concrete walls must be illustrated and accompanied by an engineer’s verification letter

Soundproofing for non-carpeted flooring using a minimum of 70 STC and recommend Proflex 250

Installation of FloLogic Water Leak Detection System

Waterproofing between concrete slab and floor covering on any exterior areas.

Prohibitions

No use of Icynene or blown insulation

Only electrical conduit, plumbing lines and AC ducts are allowed in any attic space available

No penetrations through slab or exterior walls. Pre-existing penetrations require minimum 2 hour firestop system.

_____________________________________

Acknowledged by General Contractor

Unit: ______